## Slide 1
SMART WATER MANAGEMENT SYSTEM
A Smart Solution for Sustainable Water Use in Colleges
💧 Problem: Water wastage due to leaks, overflow and inefficient usage.
📡 Solution: IoT sensors monitor water levels, flow and usage in real time.
📊 Goal: Reduce water wastage through data-based monitoring and alerts.
Domain: Water Systems | Focus: Sustainability & Smart Campus

## Slide 2
1. PROBLEM & SYSTEM GAPS
Problem: Water is wasted through leakages, tank overflow, unnecessary usage and inefficient irrigation.
Context: College water tanks, washrooms, gardens, canteens and other high-use areas.
Current gaps:
• Manual tank checking
• Leaks may remain unnoticed
• No continuous consumption monitoring
• Limited area-wise water usage data

## Slide 3
2. PROPOSED SMART SYSTEM
IoT-based system for monitoring and managing campus water usage.
Main components:
• Water-level sensors → monitor tanks and prevent overflow
• Flow sensors → measure area-wise water consumption
• Leak detection → identify unusual continuous flow
• Soil-moisture sensors → support smart garden irrigation
• Central dashboard → display usage, trends and alerts
System flow: Sensors → Data Collection → Processing → Dashboard → Alert → Action

## Slide 4
3. DATA FLOW & EXPECTED IMPACT
Data collected: tank level, water flow, soil moisture, time and location of usage.
Data enables: consumption tracking, leakage detection, tank monitoring and irrigation decisions.
Key decisions:
• Low tank → refill alert
• High tank → stop pump / prevent overflow
• Unusual flow → inspect for leakage
• High soil moisture → avoid unnecessary irrigation
Expected impact: reduced water wastage, faster maintenance, efficient irrigation and evidence-based campus management.
Beneficiaries: Students • Maintenance Staff • Campus Management • Environment